## Sheet1
Date Measured | 2024-07-28
Color Type | D
Analyst Initials | JDL
Visual Observations (one or more lines
This is a space to enter free text comments about testing
Insert additional lines as needed
Chromameter calibration result (measurement of standard tile):
|  | Measured | Expected | %Devn
| L | 63.01 | 62.82 | 0.3025%
| a | -31.09 | -30.9 | 0.6149%
| b | -5.87 | -5.81 | 1.033%
|  |  | Calibration Status: | Pass
| Sample_ID | L* | a* | b*
|  | unitless | unitless | unitless
| 13 | 82.12 | 3.9 | 5.08
| 14 | 81.46 | 3.96 | 5.07
| 15 | 81.65 | 4.09 | 5.22
| 16 | 80.36 | 4.18 | 5.1