## Sheet1
Date Measured | 2024-07-26
Color Type
Analyst Initials
Visual Observations (one or more lines
This is a space to enter free text comments about testing
Insert additional lines as needed
Chromameter calibration result (measurement of standard tile):
|  | Measured | Expected | %Devn
| L | 63.01 | 62.82 | 0.3025%
| a | -31.09 | -30.9 | 0.6149%
| b | -5.87 | -5.81 | 1.033%
|  |  | Calibration Status: | Pass
| Sample_ID | L* | a* | b*
|  | unitless | unitless | unitless